## Slide 1
VI SEMESTER (TEXTILE TECHNOLOGY)
Environmental pollution management

## Slide 2: Components of the environment
Nature- It is a sum total of four spheres which are lithosphere, hydrosphere, atmosphere and biosphere.
Environment means the abiotic and biotic habitats that surround us –
Abiotic are- soil, water, air, light and wind which are also called non-living beings.
Biotic are- human beings, animals, plants, insects, bacteria and viruses or living beings.

## Slide 3: Cont..
Impact of nature on human being and vice versa- the activities of human being affect the environment like pollution, deforestation, desertification, soil erosion and climate change. So, environmental education is necessary to make people aware of-
The impact of our activities on the environment.
The need for protecting the environment.
The need for conserving resources.
The concepts of ecology.
The relevant legislation.

## Slide 4: Cont..
The impact of nature on human being are-
Earthquake
Dust wind
Flood
Storm
Tsunami
Cyclone
Landslides
These cannot be resisted by human being but must be precautious for removal of hazardous effects.

## Slide 5: Cont..
Impact of human being on nature-
Deforestation
Rapid industrialisation
Dumping of garbages anywhere
Unwanted activities spread in the society
Throwing of waste carelessly

## Slide 6: Energy flow in an ecosystem
Sun is the source of energy. With the help of sunlight, the green plants make food reacting with water and carbon dioxide in presence of cholrophyll. This process is called Photosynthesis process.
CO2 + H2O Sun energy and chlorophyll- C6H12O6 (carbohydrate)+ oxygen.
Thus the sun energy passes from one organism to other organism in the form of food. So the flow of energy is related to the food chain.Almost all the solar energy in the food chain is trapped by autotrophic organisms of the first trophic level or the green plants.
The sun is an extremely hot body where thermonuclear reactions occur continuously with the liberation of enormous quantitites of heat and light. Only a small part of energy reaches our planet. The intensity of solar energy outside the earth’s atmosphere is 1.2 k w/m2 (kilowatt per square meter). A part of this energy is absorbed by the gases and particulates present in the atmosphere. The solar that reaches the earth surface carries about 0.9 kW/ m 2.
The food energy passes from one group of organisms to another group at different levels, each of this level is called a trophic level, which is effectively the feeding level of a group of organisms in a food chain.

## Slide 7: TROPHIC LEVELS
Trophic level I:- The producers which create their own food by converting solar energy into chemical energy in the form of carbohydrates comprise trophic level I. The green plants belong to this catagory.
Trophic level II :- the primary consumers that do not produce their own food, like cows, sheep,goats and rabbits belong to trophic level II.

## Slide 8
The secondary consumers that is the carnivores like lions, tigers and dogs belong to trophic level III. Human beings and a few groups of animals( omnivores) that obtain their food from the other three levels belong to level IV.
Sun
Consumers
Producer Herbivores carnivores
nutrients
decomposers

## Slide 9: ECOSYSTEM
For survival , a living organism cannot live in an isolated environment ; it depends upon the living and the non-living environment for food, nutrients and energy. So there is a constant interaction between living and the non-living environment. A ecosystem is there fore defined as a natural functional unit of living organisms and their nonliving environment that interact to form a stable system.

## Slide 10
Each ecosystem has its unique vegetation, animals,climate,water and nutrient sources.Ponds, lakes,deserts,grasslands and forests are common examples of ecosystems.
POSITION OF HUMAN BEINGS IN THE FOOD CHAIN:-
Phytoplankton -- Zooplankton -- Small fish large fish -- human beings.
ii) Plants (Grass) -- Goat -- Human beings.
iii) Plants (Wheat) -- Human beings

## Slide 11: FOOD CHAIN
A food chain shows how each living organism obtains its food.Examples of simple food chains in a grassland ecosystem are:- rabbits eat grass and are in turn eaten by foxes, deer eat grass and are in turn eaten by lions, Fish eat plankton, small fish are eaten by larger fish and both are consumed by human beings. A food chain always starts with an autotroph and ends with a carnivore.

## Slide 12: AIR POLLUTION
Air pollution is crucial for public health, due to the enormous amount of air in each day.Polluted air causes respiratory diseases and many undesirable physiological effects.
Air pollution may be defined as the excessive discharge of undesirable foreign substances into the atmosphere, thereby adversely affecting the quality of air and causing damage to human, plant and animal lives. Air pollutants are of two types:- Primary and Secondary.

## Slide 13: CAUSES OF AIR POLLUTION.
Air can be polluted in two ways- By human beings and by natural calamities. Human activities that cause air pollution are:-
Tremendous increase in population
Rapid industrialization
Rapid urbanization
Deforestation
Tremendous increase in transport.
Proliferation of industries.

## Slide 14: ACID RAIN
Various industries, automobiles and combustion of fossil fuels release acidic oxides such as sulphur dioxide, nitrogen dioxides and hydrochloric acid gas into the atmosphere. This oxides get dissolved in the water vapour present in the atmosphere to form the correponding acids, which mean fall slowly on earth as acid rain.
SO2+ H2OHHH H2SO3 (Sulphurous acid.)
SO3+H2OHHH H2SO4 (Sulphuric acid.)
4NO2+2H2O+O2 4HNO3 ( Nitric acid.)

## Slide 15: GREEN HOUSE EFFECT
The sun’s rays consists of UV, visible and infrared radiations. The ozone layer present in the uppert atmosphere absorbs most of the UV radiation and allows the visible and infrared radiations to pass through towards the earth. Incident solar energy is absorbed by the earth as short wave radiations ,gets converted to heat energy and is then emitted into space as long wave infrared radiations. Ther are several gases including carbon dioxide in the earth’s atmosphere that absorb the long wave infrared radiations. If a large amount of carbon dioxide is present in the atmosphere, the temperature of the earth rises beyond this. This phenomenon is known as Greenhouse effect. Hence it is known as global warming.

## Slide 16: ANALYSIS OF IDUSTRIAL WATER
Hardness:- A known volume of water, 50 ml. taken in conical flask. Two cc of buffer solution and four to six drops of indicator are added and titrated against EDTA solution, till red/pink colour of solution is turned to blue.Hardnees of water is expressed as presence of CaCo3 ppm.
Total hardness=ml of EDTA solution usedx 10x10x10/ volume of sample(ml).
In this way the presence of chloride,sulphates and “ph” value of water are checked before using in industries.

## Slide 17: WATER TREATMENT PROCESS AND SELECTION.
ATIRA has carried out a number of processes in the mills and it has found that many mills use either raw water only without adequate treatment. This creates many problems in efficient running of boiler plant also affects the quality of cloth.
The water treatment processes are:- 1.Precipitation 2. Ion exchange process.
By this process the hardness of water is largely precipiated and water is softened.

## Slide 18
The commonly employed precipitation process in textile mill is the lime soda process. For many years this is being used in a number of mills. In this process , the hardness of water can largely be precipitated by adding hydrated lime and sodium carbonate in the water
Various types of lime-soda softening plants are available in the market now.
In the ion exchange process , The calcium and magnesium ions from the water are replaced by the sodium ions of the cation exchange material material and water is softened.

## Slide 19: TREATMENT OF EFFLUENTS
The mills must have waste treatment plants to reduce alkalinity of effluents, which is not adequate many a times to meet the limits specified by statutory authorities.
There are four factors to be observed :
1.Quantity of effluents to be discharged.
2. Different manufacturing process adopted in mill.
3. Type of receiving bodies, e.g- public sewers, rivers, nullah, irrigation land etc.
4. Legislation imposed by the local authorities.

## Slide 20
Treatment processes are:-
Physical treatment:- This consists of dilution, equalization, separation, filtration, screening, sedimentation etc and this treatment removes the suspended, precipitated,floculated solid particles from the effluents.
Chemical treatment:- It consists of neutralization of the effluents with acids, alkalis, addition of coagulating agents like alum, ferrous sulphates, ferric sulphates etc.
Biological treatment:-It consists of mixing the sanitary waste with the mill waste, oxidation by compressed air, trickling filters, activated sludge treatment and oxidation ditch to bring the BOD of the effluent within the stipulated limit.

## Slide 21: TEXTILE WASTE TREATMENT FLOW CHART
Desizing Scouring bleaching Finishing
Heat recovery caustic recovery Heat.Recovery
↓ ↓ ↓
↓Eqalization,Coagulant
addition,acid dosing,lime addition.
↓Sedimentation.
↓ Domestic sewage.
↓ Biological treatment.
↓ Activated sludge.
↓ Oxidation ponds.
↓ Final disposal.

## Slide 22: WASTE WATER TREATMENT FOR DYE HOUSE.FLOW CHART.
Screening
↓
Oil,grease and grit removal
↓
Equalization.
↓
H2so4 → Chromium reduction
↓
Lime → Ph adjustment.
↓
settling
↓
Bleaching powder oxidation
↓
Sludge drying bed → To Dischrge.

## Slide 23: NOISE POLLUTION
The fast changing development of industrilization, urbanaisation,communication and transport has led to noise pollution.
In simple words, noise can be defined as awrong sound,at a wrong time.In other words, noise may be defined as an unwanted sound defined by various industrial psychologists.
There are two properties of noise:-
i) Loudness or intensity.
ii) Frequency.

## Slide 24
Intensity of noise:-
It depends upon the amplitude of vibrations which initiate the noise. The unit of measurement of intensity of sound is called “decible” abbreviated as dB.
Frequency:-
The frequency refers to the rate of vibrations of the sound and is measured in hertz(HZ). The frequency of sound is determined by the number of times the vibrating waves undulate per second.The slower the cycle the lower the pitch.Human can hear frequencies from 20 to 20000Hz.

## Slide 25
Activities Noise level
Breathing 10dB
Wind in trees 20dB
Loud conversation 60dB
Office noise 60 dB
Radio music 50-60 dB
Traffic noise 60-80 dB
Motor cycle 105 dB
Air craft noise 90-120 dB
Jet take off 120-160 dB
Class room 30-40 dB.

## Slide 26: SOURCES OF NOISE POLLUTION
Industrial source
Loud speakers
Construction work
Road transport
Rail transport
Air transport
Satellite communication
Household Gadgets
Radio and television
Agricultural methods and machines.

## Slide 27: EFFECTS OF NOISE POLLUTION
Health hazards
Non living things
Personality
Workers efficiency
Physiological
Behaviour
Others.
Health hazards:- Acute damage to the eardrum and tiny hair cells.
Loss of hearing or even permanent impairment.

## Slide 28: NOISE CONTROL
General awareness
Noise reduction at source
Screen the noise source
Screen the receiver
Remove the noise source
Reduce traffic pollution
Plantation
Plantation is one of the most important sources of noise control.Plants can absorbe the noise in high amount.